时间分辨荧光寿命探测系统

硬件构成：

- 488nm皮秒脉冲半导体激光器

- 16通道PMT探测器

主要参数：

- 488nm皮秒脉冲激光器：

Peak Power： 40 – 500mw

Power control range：

20MHz   0-0.6mW；

50MHz   0-1.5mw；

80MHz   0-2.4mw；

CW mode    0-20mw

- 16通道PMT探测器：

Number of Channels 16

Arrangement linear (1 by 16)

Active Area (PML-16GaAsP) 16 x 6 mm

Channel Pitch 1 mm

330 to 700 (GAsP)

Dark count rate (total, 22°C, typical values)

GaAsP 4000 counts per second

Single Photon Pulse, Output Polarity negative

Average Photon Pulse Amplitude > 100 mV at DCC Gain 100%

Time Resolution (FWHM of IRF) PML-16 C 150 ps (typical value, for individual channels)

Time Resolution (FWHM of IRF) PML-16 GaAsP 220 ps (typical value, for individual channels)

Time Skew between Channels < 100 ps for PML-16C, <200 ps for PML-16 GaAsP

Timing Output Connector SMA, 50Ω

Misrouted Photons (100 kHz Count Rate) < 0.1 %

Suppressed Photons (100 kHz Count Rate) < 1 %

Routing Signal 4 ‘Channel’ bits + ‘Disable Count’ bit, TTL/CMOS

Optimum 'Latch Delay' in SPC module 0 ns (SPC-630, 730, 830)

20 ns (SPC-140, 150, 160)

Connector for routing and power supply 15 pin Sub-D / HD (3 rows of pins)

Power Supply +5V, -5V, +12V, from DCC-100 card

Gain control signal 0 to 1V, from DCC-100 card

Overload shutdown at >2μA channel current, via DCC-100 card

Dimensions 50 mm * 50 mm * 160 mm

技术服务：

1 免费安装调试；现场安装，现场调试，按照买方和卖方双方同意的标准对主机、附件，软件的性能和功能进行测试；在买方对主机、附件，软件的性能和功能进行测试合格的基础上，由买方授权人签字验收；

2 安装调试经用户验收合格当天起，免费保修期一年；

3免费培训用户直至其能完全独立操作；培训内容包括仪器的技术原理、仪器操作、数据处理、软件的使用和结果分析、仪器基本维护等.

4 仪器在保修期内和保修期外，卖方应免费向用户提供仪器软件升级服务。